Sample Prep/Lab and Field Methods–Some Recommend Sections

Title

Student Names

Revision Date

Glassware/Materials List – Glassware and other materials required, include quantity needed

Materials Cleaning – Cleaning protocol for all materials that will interact with sample or standards

Sample Collection – Methods for sample collection and list of data or oberservation to be recoded

Pretreatment, Preservation, and Storage – Protocal for sample pretreatment, preservation and storage

Reagents, Standards and Blank Prep – Reagent prep details, include quantity needed

Internal Standard – List internal standards to be used, and show calculations/tables for how internal standards will be prepared from stock solutions

External Standard Preparation – List external standards to be used, and show calculations/tables for how standards will be prepared from stock solutions

QC – Show calculations/tables for how the quality control will be prepared from stock solutions.  May also include spikes

Subtraction/Rinse Blank – Show calculations/tables for how the subtraction blank will be prepared

Sample Processing – All steps in sample preparation may include dilution, digestion, extraction, fusion, or dry ashing

Method Blank – Protocol for preparation of a method blank

Final Preparation of Sample for Instrument – Protocal for final dilution, matrix matching and addition of internal standards

Total Dissolved Solids – Show calculations for final TDS

Possible Interferences – List any significant interferences you are aware of and how you will deal with them

Run List– The order you will run standards, QCs, blanks, and samples (include duplicates as needed

Waste Disposal – Describe the waste disposal protocol, containers should be included in the materials section

References – Cite any references used