***Fire Statistics***

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **2015** |  |  |  |  |  |  |  |
| **Building** | **# of Fires** | **Date** | **Time** | **Cause** | **Deaths** | **Injury** | **Property Damage** |
| A | 0 |  |  |  |  |  |  |
| B | 0 |  |  |  |  |  |  |
| C | 0 |  |  |  |  |  |  |
| D | 0 |  |  |  |  |  |  |
| E | 0 |  |  |  |  |  |  |
| F | 0 |  |  |  |  |  |  |
| G | 0 |  |  |  |  |  |  |
| H | 0 |  |  |  |  |  |  |
| I | 0 |  |  |  |  |  |  |
| J | 0 |  |  |  |  |  |  |
| K | 0 |  |  |  |  |  |  |
| N | 0 |  |  |  |  |  |  |
| P | 0 |  |  |  |  |  |  |
| Q | 0 |  |  |  |  |  |  |
| R | 0 |  |  |  |  |  |  |
| S | 0 |  |  |  |  |  |  |
| T | 0 |  |  |  |  |  |  |
| U | 0 |  |  |  |  |  |  |
| Mod 301 | 0 |  |  |  |  |  |  |
| Mod 302 | 0 |  |  |  |  |  |  |
| Mod 303 | 0 |  |  |  |  |  |  |
| Mod 304 | 0 |  |  |  |  |  |  |
| Mod 305 | 0 |  |  |  |  |  |  |
| Mod 306 | 0 |  |  |  |  |  |  |
| Mod 307 | 0 |  |  |  |  |  |  |
| Mod 308 | 0 |  |  |  |  |  |  |
| Mod 309 | 0 |  |  |  |  |  |  |
| Mod 311 | 0 |  |  |  |  |  |  |
| Mod 312 | 0 |  |  |  |  |  |  |
| Mod 313 | 0 |  |  |  |  |  |  |
| Mod 314 | 0 |  |  |  |  |  |  |
| Mod 315 | 0 |  |  |  |  |  |  |
| Mod 316 | 0 |  |  |  |  |  |  |
| Mod 317 | 0 |  |  |  |  |  |  |
| Mod 318 | 0 |  |  |  |  |  |  |
| Mod 319 | 0 |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
| **2014** |  |  |  |  |  |  |  |
| **Building** | **# of Fires** | **Date** | **Time** | **Cause** | **Deaths** | **Injury** | **Property Damage** |
| A | 0 |  |  |  |  |  |  |
| B | 0 |  |  |  |  |  |  |
| C | 0 |  |  |  |  |  |  |
| D | 0 |  |  |  |  |  |  |
| E | 0 |  |  |  |  |  |  |
| F | 0 |  |  |  |  |  |  |
| G | 0 |  |  |  |  |  |  |
| H | 0 |  |  |  |  |  |  |
| I | 0 |  |  |  |  |  |  |
| J | 0 |  |  |  |  |  |  |
| K | 0 |  |  |  |  |  |  |
| N | 0 |  |  |  |  |  |  |
| P | 0 |  |  |  |  |  |  |
| Q | 0 |  |  |  |  |  |  |
| R | 0 |  |  |  |  |  |  |
| S | 0 |  |  |  |  |  |  |
| T | 0 |  |  |  |  |  |  |
| U | 0 |  |  |  |  |  |  |
| Mod 301 | 0 |  |  |  |  |  |  |
| Mod 302 | 0 |  |  |  |  |  |  |
| Mod 303 | 0 |  |  |  |  |  |  |
| Mod 304 | 0 |  |  |  |  |  |  |
| Mod 305 | 0 |  |  |  |  |  |  |
| Mod 306 | 0 |  |  |  |  |  |  |
| Mod 307 | 0 |  |  |  |  |  |  |
| Mod 308 | 0 |  |  |  |  |  |  |
| Mod 309 | 0 |  |  |  |  |  |  |
| Mod 311 | 0 |  |  |  |  |  |  |
| Mod 312 | 0 |  |  |  |  |  |  |
| Mod 313 | 0 |  |  |  |  |  |  |
| Mod 314 | 0 |  |  |  |  |  |  |
| Mod 315 | 0 |  |  |  |  |  |  |
| Mod 316 | 0 |  |  |  |  |  |  |
| Mod 317 | 0 |  |  |  |  |  |  |
| Mod 318 | 0 |  |  |  |  |  |  |
| Mod 319 | 0 |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
| **2013** |  |  |  |  |  |  |  |
| **Building** | **# of Fires** | **Date** | **Time** | **Cause** | **Deaths** | **Injury** | **Property Damage** |
| A | 0 |  |  |  |  |  |  |
| B | 0 |  |  |  |  |  |  |
| C | 0 |  |  |  |  |  |  |
| D | 0 |  |  |  |  |  |  |
| E | 0 |  |  |  |  |  |  |
| F | 0 |  |  |  |  |  |  |
| G | 0 |  |  |  |  |  |  |
| H | 0 |  |  |  |  |  |  |
| I | 0 |  |  |  |  |  |  |
| J | 0 |  |  |  |  |  |  |
| K | 0 |  |  |  |  |  |  |
| N | 0 |  |  |  |  |  |  |
| P | 0 |  |  |  |  |  |  |
| Q | 0 |  |  |  |  |  |  |
| R | 0 |  |  |  |  |  |  |
| S | 0 |  |  |  |  |  |  |
| T | 0 |  |  |  |  |  |  |
| U | 0 |  |  |  |  |  |  |
| Mod 301 | 0 |  |  |  |  |  |  |
| Mod 302 | 0 |  |  |  |  |  |  |
| Mod 303 | 0 |  |  |  |  |  |  |
| Mod 304 | 0 |  |  |  |  |  |  |
| Mod 305 | 0 |  |  |  |  |  |  |
| Mod 306 | 0 |  |  |  |  |  |  |
| Mod 307 | 0 |  |  |  |  |  |  |
| Mod 308 | 0 |  |  |  |  |  |  |
| Mod 309 | 0 |  |  |  |  |  |  |
| Mod 311 | 0 |  |  |  |  |  |  |
| Mod 312 | 0 |  |  |  |  |  |  |
| Mod 313 | 0 |  |  |  |  |  |  |
| Mod 314 | 0 |  |  |  |  |  |  |
| Mod 315 | 0 |  |  |  |  |  |  |
| Mod 316 | 0 |  |  |  |  |  |  |
| Mod 317 | 0 |  |  |  |  |  |  |
| Mod 318 | 0 |  |  |  |  |  |  |
| Mod 319 | 0 |  |  |  |  |  |  |

### ***Fire Systems***

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Bldg | Sprinkler | Detection | Alarm | Extinguishers | Pull stations |
| Res A | Wet, full coverage | Hardwired, local smoke w/isolated thermal; system smoke and system thermal | Edwards EST-3, addressable, reports to Police Services and McLane Fire | 14 total1/floor in main corridor2 in office2 in mechanical rooms | 1/building at fire panel |
| Res B, C, D | Wet, full coverage | Hardwired, local smoke w/isolated thermal; system smoke and system thermal | Edwards EST-3, addressable, reports to Police Services and McLane Fire | 5/building; 1/floor in main corridor | 1/building at fire panel |
| Res E-U(14 bldgs) | None | Hardwired, local smoke w/isolated thermal; system smoke and system thermal | Autocall MD/MD2, non addressable, reports to Police Services and McLane Fire | 1/apartment | 1/apartment1/building exterior2 additional at F, H & R |
| Mods(18 bldg) | None | Hardwired, local smoke w/isolated thermal; system thermal | Autocall MD/MD2, non addressable, reports to Police Services and McLane Fire | 1/apartment | 1/apartment |

### ***Fire Drills***

### There are two fire drills per academic year, typically in fall and winter quarters. Residents are also sent an email regarding evacuation procedures and fire drills every fall.

### ***Campus Policies***

### The Evergreen State College Residential and Dining Services has the following policies regarding fire safety. Links are provided to the actual policy.

### **Smoking**

Smoking is prohibited in Residential and Dining Services except in designated outdoor areas. A service charge will be assessed to cover the costs of clean-up in rooms/apartments as a result of smoking. Public smoking areas are designated by staff and will be shared with the community at the beginning of the academic year.

<http://www.evergreen.edu/rad/policies/home.htm#Smoking>

### **Candles**

Candles are prohibited, except during power outages or if approved in writing by a Resident Director for religious ceremonies. Candles must be attended at all times and extinguished when the ceremony/power outage is over. You will be billed for any damage from candles.

<http://www.evergreen.edu/rad/policies/home.htm#Candles>

### **Fires**

Open-flame fires are prohibited. Charcoal fires are permitted in provided barbecues.

<http://www.evergreen.edu/rad/safety/fire#fires>

### **Electrical Equipment**

Electrical equipment is limited to the following UL approved items unless approved in writing: computers, printers, sound equipment, video equipment, musical instruments, lamps, fans and small space heaters.

Halogen lamps, space heaters without an automatic turn off, and kilns are prohibited.

### <http://www.evergreen.edu/rad/safety/fire#electrical>

### **Cooking Equipment**

Cooking equipment is limited to the following UL approved items unless approved in writing: hot water pots/coffee makers, microwaves, toasters, blenders, popcorn makers, indoor grills, slow cookers, rice cookers, waffle makers and small individual refrigerators.

Gas grills, camp stoves, hot plates, and toaster ovens are prohibited.

### <http://www.evergreen.edu/rad/policies/home.htm#Cooking%20Equipment>

### ***Evacuation Procedure***

In case of a fire, remain calm. Never re-enter a burning building to save your personal possessions.

If you discover or suspect a fire, pull a fire alarm and leave the building by the nearest exit. While exiting, attempt to warn your neighbors by banging on doors that you pass.

When an alarm, a shouted warning, or the sensation of smoke or fire has alerted you:

* Keep low to the floor to avoid smoke. Unless smoke is present, close window.
* Feel the door before opening it. If it's hot, don't open it. If it isn't hot, open the door carefully. If smoke or heat is present, close the door and stay in the room. Seal the cracks around the door with whatever is handy (a towel, etc.). Call "911" and report that you are trapped. Be sure to give them your location. If the phone does not work, hang a sheet, jacket, etc. out of the window to at­tract attention.
* If the hall is free of smoke or heat, close and lock your door and exit immediately by the closest stairwell. DO NOT USE AN ELEVATOR! If the nearest exit is blocked, go to another exit.
* If all exits are blocked, go back to your room. Close the door, hang something out of your window and signal for help.
* Move quickly in a crouched position when escaping through a smoke-filled corridor. Place a wet cloth over your face and head.
* Once outside the building, move away from the building and watch for vehicle traffic.
* Do not re-enter the building until you have been given the OK by police, fire officials or the hall staff. THE SILENCING OF THE ALARM DOES NOT INDICATE THE BUILDING IS SAFE TO RE-ENTER!

### <http://www.evergreen.edu/rad/safety/fire>

### Evacuation Meeting Location

The evacuation meeting point for fire alarms and other types of emergencies is the large rock next to the [Pavilion](http://maps.google.com/?ie=UTF8&ll=47.074212,-122.969861&spn=0.000913,0.002642&t=h&z=19" \t "_blank) (also known as the Thunderdome; it's past the fields, near the Mods).

In emergencies, information regarding shelter, first aid and food/water will be available at this location (coordinates 47.074259,-122.970534).

<http://www.evergreen.edu/rad/safety/disasters#evacuation>

### See <http://www.evergreen.edu/facilities/emergency/evacuation102007.htm> for additional information

### ***Alarm Procedures***

When a building fire alarm is activated, everyone must evacuate per the International Fire Code regulation 404 and Evergreen's evacuation procedures.

When an individual room's smoke detector is activated, the occupier of the room is required to call the on-duty Resident Assistant immediately and meet the Resident Assistant when he/she arrives. The Resident Assistant will then determine the cause of the activation, and either reset the alarm or call for assistance.

### <http://www.evergreen.edu/rad/policies/home.htm#Fire%20Alarms>

### ***How to report a fire***

### All faculty, staff and student may report fires by calling 911.

### ***Plans for future fire safety upgrades***

### Fire alarm systems at buildings E – U and mods 301 – 319 scheduled for upgrade to Edwards EST-3 during summer project seasons of 2016 and 2017.