Environmental health & Safety Self-Inspection Checklist

General Instructions:  Complete each item in all applicable sections using the codes provided in the legend.  A “No” response indicates a possible deficiency and corrective action may be necessary .   Deficient conditions are to be entered on the Self-Inspection Worksheet.  Contact EHS at 867-6111, for assistance and additional information.

| LEGEND: | “” = In compliance |  | N/E = Not evaluated |  |
| --- | --- | --- | --- | --- |
|  | “NO” = May not be in compliance |  | N/A = Not applicable |  |

PART I:  This PART is to be completed by all units.

- General Requirements

| 1. |  | Is there a written Accident Prevention Program in place? |
| --- | --- | --- |
| 2. |  | Is there an active Safety Committee or safety meetings being held? |
| 3. |  | Is there a Safety Bulletin Board? |
| 4. |  | Are the “Job Safety and Health Protection” and “Notice to Employees” posters posted on |
|  |  | the Safety Bulletin Board? (Contact EHS at 867-6111 for posters) |
| 5. |  | Is at least one person trained in first-aid at the work site at all times? |
| 6. |  | Are employees designated as first-aid responders covered by a Bloodborne Pathogens Exposure Control Plan ? (see appendix D) |
| 7. |  | Are there suitable first-aid kits and bloodborne pathogen kits in the immediate work area? |
|  |  | First-aid kits should be readily visible, accessible and with complete contents. |
| 8. |  | Are emergency telephone numbers posted on all first aid kits and telephones? |

- Office Spaces

| 9. |  | Are aisles, hallways and other high traffic areas free of such obstructions such as |
| --- | --- | --- |
|  |  | wastebaskets, boxes, ladders, open file drawers and personal belongings? |
| 10. |  | Are electrical cords, telephone and computer wires kept out of areas, such as walkways, |
|  |  | aisles and from under desks, where they might entangle feet? |
| 11. |  | Are materials (i.e., paper, supplies) stored properly to reduce the risk of falling objects? |
| 12. |  | Are heavy items stored on shelves between knee and waist height to prevent top heavy |
|  |  | shelves and back injury? |
| 13. |  | Is a step ladder or stool available to reach high places? |
| 14. |  | Are office workstations adjusted and arranged to fit each worker? (see appendix I) |
| 15. |  | Are chairs free from loose and broken parts, shaky legs or missing casters? |

C.  General Work Areas and Walkways

| 16. |  | Are all work sites (i.e., offices, store rooms, shops) clean and orderly? |
| --- | --- | --- |
| 17. |  | Are work surfaces kept dry, or appropriate means taken to assure surfaces are slip- resistant? |
| 18. |  | Are aisles kept clear? |
| 19. |  | Are wet surfaces covered with non-slip materials? |
| 20. |  | Are materials or equipment stored in such a way that sharp objects do not protrude into |
|  |  | the walkway? |
| 21. |  | Are standard guardrails provided wherever aisle or walkway surfaces are elevated more |
|  |  | than 30 inches above any adjacent floor or ground? |

D.  Stairs and Stairways

| 22. |  | Are standard stair rails or handrails on all stairways having two or more risers? |
| --- | --- | --- |
| 23. |  | Are step risers uniform from top to bottom and in good repair? |
| 24. |  | Are steps designed or provided with a surface that renders them slip resistant? |
| 25. |  | Are stairways free from obstructions, such as stored items? |

- Electrical Safety

| 26. |  | Is each electrical panel free of obstruction with a minimum of 30 inches of access clearance? |
| --- | --- | --- |
| 27. |  | Is each circuit breaker labeled as to its function? |
| 28. |  | Are electrical extension cords in good condition without splices, deterioration or damage? |
| 29. |  | Are multiple plug adapters that are not circuit breaker protected prohibited? |
| 30. |  | Are electrical extension cords protected from potential damage from such uses as |
|  |  | being run through walls, ceilings, floors, doorways, windows and under carpets? |
| 31. |  | Are extension cords equipped with a grounding prong? |
| 32. |  | Are extension cords only used for temporary power? |
| 33. |  | Are unused openings in electrical enclosures and fittings, such as conduit, junction |
|  |  | boxes and electrical panels, closed with appropriate covers, plugs or plates? |
| 34. |  | Are switches, receptacles and junction boxes equipped with covers or plates? |
| 35. |  | Are all exterior outlet receptacles, interior outlet receptacles in wet locations and interior |
|  |  | outlet receptacles within 6 feet of a sink or other water source equipped with ground fault circuit interrupters (GFCI)? |

F.  Fire Safety

| 36. |  | Are evacuation maps showing the location of exits, fire extinguishers, emergency eye |
| --- | --- | --- |
|  |  | washes posted? |
| 37. |  | Are all exits free of obstructions? |
| 38. |  | Are all exits marked by a readily visible “EXIT” sign? |
| 39. |  | Are access to exits marked by exit signs indicating exit direction where the exit is not |
|  |  | immediately apparent? |
| 40. |  | Are all doors and passageways which are not an exit or exit way, but may be |
|  |  | mistaken as such, identified by a sign reading “ NOT AN EXIT”? |
| 41. |  | Are all self-closing doors free to close (not secured in the open position)? |
| 42. |  | Are all fire extinguishers fully charged, kept in their designated places and can be easily |
|  |  | viewed and accessed? |
| 43. |  | Do all fire alarm boxes and annunciator panels have unobstructed access? |
|  |  | Do all fire sprinklers have at least 18 inches of clearance between the sprinkler head |
| 44. |  | deflector and the top of any stored materials? |
| 45. |  | Are all refrigerators, freezers and coolers labeled to indicate whether they are suitable |
|  |  | for storing flammable liquids? |
| 46. |  | Are flammable liquids stored in approved flammable storage cabinets? |
| 47. |  | Are personal space heaters approved by EHS? |
| 48. |  | Are all electrical cooking appliances (coffee pots, hotplates) sitting on a flat noncombustible |
|  |  | surface (i.e., ceramic)? |

PART II:  Complete all sections applicable to your activities.

If an entire section does not apply to your activities,  mark the “Does not apply” box and continue to the next section.

G.  Personal Protective Equipment (PPE)

- Does not apply.

| 49. |  | Have task assessments been performed by supervisors to identify the potential hazards |
| --- | --- | --- |
|  |  | requiring the use of PPE (such as eye and face, head, hand, respiratory and hearing protection.)? (see appendix D) |
| 50. |  | Has EHS conducted monitoring of high noise activities (i.e., operations using power |
|  |  | tools and heavy equipment)? |
| 51. |  | Has EHS evaluated the need for respiratory protection where employees are exposed to |
|  |  | dusts, mists, fumes and vapors? |
| 52. |  | Have the task assessments been documented? (see appendix D) |
| 53. |  | Has PPE been selected and provided based on the hazard assessment? (see appendix D) |
| 54. |  | Have employees been trained in the use of PPE? (see appendix D) |
| 55. |  | Has employee PPE training been documented? (see appendix D) |

H.   Elevated Work Surfaces (i.e., overhead storage, platforms)

- Does not apply.

| 56. |  | Are signs posted, when appropriate, showing elevated surface load storage capacity? |
| --- | --- | --- |
| 57. |  | Are surfaces elevated more than 30 inches above the floor or ground in public |
|  |  | spaces and 48 inches above the floor or ground in work areas provided with guardrails? |
| 58. |  | Is material on elevated surfaces piled, stacked or racked in a manner to prevent it from |
|  |  | tipping, falling, collapsing, rolling or spreading? |

I.  Portable Ladders

- Does not apply.

| 59. |  | Are all ladders maintained in good condition, with joints between steps and side rails |
| --- | --- | --- |
|  |  | tight, all hardware and fittings securely attached and moveable parts operating freely? |
| 60. |  | Are non-slip safety feet provided on each ladder? |
| 61. |  | Are ladder rungs free of grease and oil? |
| 62. |  | When portable ladders are used to gain access to elevated platforms, roofs, etc., |
|  |  | does the ladder extend at least 3 feet above the elevated surface? |
| 63. |  | Are metal ladders marked with the signs reading “CAUTION” - Do Not Use |
|  |  | Around Electrical Equipment” or equivalent wording? |

- Hand Tools and Equipment

- Does not apply.

| 64. |  | Are all tools and equipment (company and employee owned) in good condition? |
| --- | --- | --- |
| 65. |  | Are all tools such as chisels and punches, which develop mushroom heads, |
|  |  | reconditioned or replaced as necessary? |
| 66. |  | Are tool handles wedged tightly in the head of all tools and free from cracks and splits? |
| 67. |  | Are all cutting edges kept sharp so the tool will move smoothly without binding or |
|  |  | skipping? |

K.  Portable (Power Operated) Tools and Equipment

- Does not apply.

| 68. |  | Are grinders, saws and similar equipment provided with shield and guards as required |
| --- | --- | --- |
|  |  | by the manufacturer? |
| 69. |  | Are circular saws equipped with guards above and below the base shoe? |
| 70. |  | Are circular saws guards checked to assure they are not wedged up, leaving the lower |
|  |  | portion of the blade unguarded? |
| 71. |  | Are rotating or moving parts of equipment guarded to prevent physical contact? |
| 72. |  | Are effective guards in place over belts, pulleys chains and sprockets? |
| 73. |  | Are pneumatic and hydraulic hoses on power-operated tools checked regularly for |
|  |  | deterioration or damage? |
| 74 |  | Are employees trained on the manufacturer’s safety recommendations for each tool. |

L.  Abrasive Wheel Grinders

- Does not apply.

| 75. |  | Is the work rest used and kept adjusted to within 1/8 inch of the wheel? |
| --- | --- | --- |
| 76. |  | Is the adjustable tongue on the top side of the grinder used and kept adjusted to within |
|  |  | ¼ inch of the wheel? |
| 77. |  | Do side guards cover the spindle, nut, and flange and 75% of the wheel diameter? |
| 78. |  | Are goggles, face shields and hearing protection always worn when grinding? |
| 79. |  | Is the maximum RPM rating of each abrasive wheel compatible with the RPM rating |
|  |  | of the grinder motor? |
| 80. |  | Before new abrasive wheels are mounted, are they visually inspected and ring tested? |
| 81. |  | Are employees trained on the manufacturer’s safety recommendations? |

M.  Machine Safety

- Does not apply.

| 82. |  | Is all machinery and equipment kept clean and properly maintained? |
| --- | --- | --- |
| 83. |  | Is sufficient clearance provided around and between machines to allow for safe |
|  |  | operation, set-up and servicing, material handling and waste removal? |
| 84. |  | Is there a power shut-off switch within reach of the operator’s position at each machine? |
| 85. |  | Are foot-operated switches guarded or arranged to prevent accidental actuation by personnel |
|  |  | or falling objects? |
| 86. |  | Are all emergency stop buttons colored red? |
| 87. |  | Are all belts/pulleys, chains/sprockets and gears within 7 feet of the floor or working |
|  |  | level completely enclosed with a guard? |
| 88. |  | Are methods provided to protect operators and others in the machine area from hazards |
|  |  | created at the point of operation, in-going nip points, rotating parts, flying chips, and sparks? |
| 89 |  | Are machines equipped to prevent from automatically starting when power is restored |
|  |  | after a power failure or shutdown? |
| 90. |  | If machinery is cleaned with compressed air, is the hose equipped with a nozzle designed |
|  |  | to reduce the pressure to 30 p.s.i. or less and are safety goggles used? |
| 91. |  | Are fan blades protected with a guard having openings no larger than ½ inch, when within |
|  |  | 7 feet of the floor? |
| 92. |  | Are saws used for ripping, equipped with anti-kick back devices and spreaders? |
| 93. |  | Are radial arm saws adjusted so that the cutting head will gently return to the back |
|  |  | of the table when released? |
| 94. |  | Are radial arm saws adjusted so that the cutting head does not extend past the edge of |
|  |  | the table? |
| 95. |  | Are employees trained on the manufacturer’s safety recommendations? |

N.   Lockout Procedures (Control of Hazardous Energy)

- Does not apply.

| 96. |  | Are all cord and plug connected equipment disconnected from outlet receptacles during |
| --- | --- | --- |
|  |  | repair, servicing, set-up and maintenance where the unexpected activation of equipment could cause injury? (Copy machines excluded) |
| 97. |  | Are all fixed wired equipment disconnected and locked-out from their power sources |
|  |  | (i.e., electrical, pneumatic, hydraulic) during repair, servicing, set-up and maintenance where the unexpected activation of equipment could cause injury? |
| 98. |  | Is all stored energy (i.e., electrical, hydraulic, pneumatic, gravity) released or blocked |
|  |  | before equipment is locked-out for service, repairs, set-up and maintenance? |
| 99. |  | Is there a written lockout program implemented? (see appendix K) |

O.  Welding, Cutting and Brazing

- Does not apply.

| 100. |  |  | Are employees/students exposed to the hazards created by welding, cutting, or brazing |  |
| --- | --- | --- | --- | --- |
|  |  |  | protected with personal protective equipment such as eye and face protection, gloves, aprons and respirators? |  |
| 101. |  |  | Is there adequate ventilation where welding or cutting is performed? |  |
| 102. |  |  | Are welding areas screened to protect nearby workers and bystanders? |  |
| 103. |  |  | Is a suitable fire extinguisher available for immediate use? |  |
| 104. |  | When the object to be welded cannot be moved and fire hazards cannot be removed, |  |  |
|  |  | are shields used to confine heat, sparks and slap? |  |  |
| 105. |  |  | Before hot work is begun, are used drums, barrels, tanks and other containers cleaned |  |
|  |  |  | so that no substances remain that could explode, ignite, or produce harmful vapors? |  |
| 106. |  |  | Are compressed gas cylinders, valves, couplings, regulators and hoses free from oil and |  |
|  |  |  | greasy substances and regularly inspected for obvious defects? |  |
| 107. |  |  | Are work and electrode leads frequently inspected for wear and damage? |  |
| 108. |  |  | Are hot work permits completed before working in the field |  |

P.  Compressed Gas Cylinders

- Does not apply.

| 109. |  | Are cylinders labeled with the identity of the contents and associated hazard warnings? |
| --- | --- | --- |
| 110. |  | Are empty cylinders marked with a tag or sign reading “Empty” or “MT”? |
| 111. |  | Are cylinders located or stored in areas where they will not be damaged by passing or falling |
|  |  | objects or subject to tampering by unauthorized persons? |
| 112. |  | Are cylinders stored and transported in a manner (secured upright with a chain or strap to a |
|  |  | wall, handtruck or bench) to prevent them from creating a hazard by tipping, falling or rolling? |
| 113. |  | Are valves, regulators, gauges, couplings and hoses compatible with the pressure and |
|  |  | contents of the cylinder? |
| 114. |  | Are valve protectors always placed on cylinders when the cylinders are not in use or |
|  |  | connected for use? |
| 115. |  | Are all valves closed off before a cylinder is moved, when the cylinder is empty and at |
|  |  | the completion of each job? |

- Cranes and Hoists

- Does not apply.

| 116. |  | Are cranes and hoists visually inspected before each use for obvious defects to the operating |
| --- | --- | --- |
|  |  | mechanisms, hydraulic systems, hooks and slings? |
| 117. |  | Are overhead electric hoists equipped with a limit device to stop the hook travel at its |
|  |  | highest and lowest point of safe travel? |
| 118. |  | Is the rated load of each hoist legibly marked? |
| 119. |  | Are the controls of cranes/hoists plainly marked to indicate the direction of travel or motion? |
| 120. |  | Is there safe clearance for equipment through aisles and doorways? |
| 121. |  | Are hooks with safety latches used when hoisting materials so that slings or load attachments |
|  |  | will not accidentally slip off the hoist hooks? |
| 122. |  | Are securing chains, ropes, chokers or slings rated and appropriate for the load being lifted? |
| 123. |  | When hoisting material or equipment, are provisions made to assure no one will be under |
|  |  | the suspended load? |

R.  Forklifts

- Does not apply.

| 124. |  | Are only trained personnel allowed to operate forklifts? |
| --- | --- | --- |
| 125. |  | Is substantial overhead protective equipment provided on high lift rider equipment? |
| 126. |  | Does each forklift have a warning horn? |
| 127. |  | Are industrial trucks with internal combustion engines, operated in buildings or enclosed |
|  |  | areas, carefully checked to ensure such operations do not cause harmful concentration of dangerous gases or fumes? |
| 128. |  | Do the brakes and lifting mechanism work properly? |

S.  Confined Spaces - Hazardous Atmospheres

- Does not apply.

| 129. |  | Do employees enter tanks, pits, vaults or similar confined spaces? |
| --- | --- | --- |
| 130. |  | Are appropriate atmospheric tests performed to check for oxygen deficiency, toxic |
|  |  | substances and explosive concentrations in confined spaces (i.e. tanks, pits and vaults) before entry? Contact EHS to evaluate potential confined spaces and to conduct atmospheric monitoring. |
| 131. |  | Is there a written Confined Space Entry Program implemented? (Contact EHS for |
|  |  | assistance) |

T.  Chemical Safety

- Does not apply.

| 132. |  | Are employees aware of the potential hazards involving various chemicals such as acids, |
| --- | --- | --- |
|  |  | bases, epoxies and phenols? |
| 133. |  | Are appropriate personal protective equipment and clothing used when handling chemicals? |
| 134. |  | Are eye washes and safety showers provided in areas where corrosive chemicals |
|  |  | are handled? |
| 135. |  | Have control procedures such as ventilation and chemical handling systems been |
|  |  | implemented for hazardous materials where appropriate? |
| 136. |  | Is there a written chemical hazard communication program? (see appendix J) |
| 137. |  | Is there a list of chemicals used in the workplace? |
| 138. |  | Is each container of a hazardous material (i.e., vats, tanks, bottles, etc.) properly labeled? |
| 139. |  | Is there a Material Safety Data Sheet readily available for each chemical used? |
| 140. |  | Are employees informed as to the chemical hazards in their work area and the appropriate |
|  |  | protective measures? |
| 141. |  | Are chemicals stored so that incompatibles (such as acids and bases, organics and oxidizers) |
|  |  | are separated? |

U.  Chemical Waste Management

- Does not apply.

| 142. |  | Have “Waste Identification” assessments been performed to determine what needs to be |
| --- | --- | --- |
|  |  | collected for chemical waste disposal? To request this service call EHS. |
| 143. |  | Are automotive fluids, inks, developers, cleansers, paints, solvent, stabilizers, or any solid or |
|  |  | liquid lab chemicals disposed of according to TESC policy? (Chemical wastes cannot be |
|  |  | drain disposed, evaporated or placed in the trash without prior EHS approval). |
| 144. |  | Have employees attended EHS Chemical Waste Management training within the last two |
|  |  | years? Contact EHS to schedule training at your location. |
| 145. |  | Are all wastes managed according WAC 173-303? |
| 146. |  | Are waste containers labeled upon first addition of waste? Labels are available through EHS. |
| 147. |  | Are waste containers closed when not in use? |
| 148. |  | Do employees contact EHS when they need to dispose of chemical waste (Lab waste |
|  |  | generators contact Lab Stores)? |
| 149. |  | Are all used batteries recycled? If you have batteries from college equipment or |
|  |  | units, EHS accepts, at no charge, all types including alkaline, lead acid, nickel cadmium, lithium and mercury. |
| 150. |  | Have non-hazardous or less hazardous chemical alternatives been evaluated? To request |
|  |  | pollution prevention assistance call EHS at 867-6111. |
| 151. |  | Are employees trained and equipped to clean-up incidental chemical spills? Employees not trained should evacuate the immediate area and keep passers-by from entering the |
|  |  | contaminated area. Call 9-911 to report all non-incidental chemical spills. |

V.  Fall Protection

- Does not apply.

| 152. |  | Have employees who are exposed to falls 10’ or greater trained in fall protection. |
| --- | --- | --- |
| 153. |  | Is there a written fall protection work plan for all projects where employees are exposed to |
|  |  | falls of 10’ or more? |
| 154. |  | Are fall protection harnesses and ropes regularly inspected? |
| 155. |  | Are lanyards and harnesses replaced at least every 5 years? |

Unit Name:

Completed by:

Date Completed: